## Slide 1
Delaware County Soil & Water Conservation District | December 14, 2017
                Local Flood Analysis
                Summary Meeting
                West Branch Tributaries
Walton Flood Commission and
Village and Town of Walton
David Murphy, P.E., CFM

## Slide 2
Agenda
East Brook
West Brook
Third Brook
Recommended Actions

## Slide 3
Agenda
East Brook
West Brook
Third Brook
Recommended Actions

## Slide 4
Existing Conditions along East Brook

## Slide 5
Combination of Options along East Brook

## Slide 6
Focus Above Griswold Street Bridge

## Slide 7
Focus Above Griswold Street Bridge

## Slide 8
Total Benefits (Ranges) along East Brook
0.8-1.2M
0.5-1.1M
1.7-2.5M

## Slide 9
Agenda
East Brook
West Brook
Third Brook
Recommended Actions

## Slide 10
Existing Conditions along West Brook

## Slide 11
Combination of Options along West Brook

## Slide 12
Focus Above Mead Street Bridge

## Slide 13
Focus Above Mead Street Bridge

## Slide 14
Total Benefits (Ranges) along West Brook
3.1-4.1M
1.5-2.1M
0.6M

## Slide 15
Agenda
East Brook
West Brook
Third Brook
Recommended Actions

## Slide 16
Third Brook Existing Depth Map

## Slide 17
Third Brook Floodplain Restorations

## Slide 18
Focus Along Lower Third Brook Road

## Slide 19
Focus on Kraft

## Slide 20
Test of Bypass Culvert at Kraft

## Slide 21
Agenda
East Brook
West Brook
Third Brook
Recommended Actions

## Slide 22
Recommended Actions
Proceed with implementation of West Brook Alternatives 1 or 2 as funding allows
Study the feasibility of East Brook Alternative 7 including the viability of not maintaining a crossing of the brook at Benton Avenue
Re-instate the gauging station on East Brook
Consider establishing some type of gauging station on West Brook
Pursue floodproofing of commercial buildings
Pursue elevation of homes on a case-by-case basis as property owners ask
When opportunities arise for acquisitions where floodplain projects may be effective in the future, support these acquisitions
Future bridge replacements must incorporate larger openings to reduce flooding

## Slide 24
Focus Above Delaware Street Bridge

## Slide 25
Bypass Culvert at Kraft – 2006 Flood